## Slide 1
Relay Overcurrent Protection Simulation
Zane Richards & Nate Fischer
November 20, 2025

## Slide 2
Why Grid Protection Matters
The electrical grid needs protection because faults happen:
Short circuits, trees touching lines, equipment failure, etc.
Faults cause very large currents which can:
Damage equipment
Cause fires
Create large blackouts
Protection systems detect abnormal electrical conditions and disconnect the damaged part of the system.

## Slide 3
Project Goal & Scope
Research
11/20/2025
Analyze Relay Operation for 3 Fault Types
MATLAB Simulation
Model a 13.8kV Feeder With Faults

## Slide 4: System Overview Feeder Overcurrent Relay Current Transformer
The system that is being simulated
Part of the power distribution system that carries electricity from a substation to neighborhoods, businesses, etc.
The “main branch” of a local distribution grid
First line of defense in feeder systems
Circuit breaker with a brain
Instantly breaks the circuit if there is an extreme fault
Waits a set amount of time before breaking the circuit if there is a non-extreme abnormality
Power lines carry hundreds to thousands of amps
Current transformers scale down current so that it can be measured
The relay uses the CT output (secondary) to make decisions

## Slide 5
Feeder
Current Transformer
Fault Point
Relay
Feeder
Current Transformer
Fault Point
Fault Point

## Slide 6: Relay Operation Logic
Reads current from the CT secondary side (stepped down current)
Instantly trips and breaks the circuit if there is an extreme abnormality
Waits a period before breaking if there is an abnormality that may not be a fault
Time is determined using IEC Standard Inverse Curve

## Slide 8: Chosen System Parameters

## Slide 9: Fault Current Calculations 3 Phase Fault Line to Line Fault Line to Ground Fault All 3 phases are shorted together Two lines touch (2 phase fault) A single line touches the ground, much more complex to calculate Values typically range from 0.5-0.7x the 3 Phase Fault Current

## Slide 10: MATLAB Simulation overview
Input key parameters (feeder voltage, CT ratio, breakpoint currents, etc.)
Compute fault currents (both regular and stepped down values)
Generate a time-current curve based on the IEC formula
Analyze relay behavior and trip times

## Slide 13: Interpretations & Limitations
Our simulation behaves realistically
Extreme faults clear instantly, weaker faults clear with delay to reduce miscoordination
Line-to-Line and SLG faults were approximated
No transient modeling or DC offset implementation
Only models the initial circuit break and does not consider reclosing

## Slide 14: Possible Improvements
Apply coordination with downstream devices
1
Simulate recloser curves
2
Improve calculations of fault currents
3
Compare IEC vs. IEEE curves
4